## Slide 1: Lady Creek Water System
Annual Members’ Virtual Meeting
July 17, 2023
Welcome!
Notes: 1

## Slide 2: Objectives of Annual Meeting
Inform and educate the membership about the water system including recent activities & developments
Present plans for current & future years
Answer your questions
  Feel free to ask as we go, or at end of meeting
  If you wish to make a statement or ask a question, please give your name and cabin location (Road and Lot Numbers)
  Some answers may be deferred to later in the program
Conduct corporate business
Notes: 2

## Slide 3: Logistics of this Virtual Meeting
To avoid background noise, please place your microphone on mute until you need to speak.
Thank you to Board Member and Treasurer Adam Abplanalp for setting up this Zoom meeting
There are buttons in the Zoom portal to ask a question and to vote
Notes: 3

## Slide 4: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 4
Any questions about objectives or agenda?

## Slide 5: Introductions
Board consists of volunteers from the membership; all are cabin owners
Each Board member will introduce themselves
  Name and current position with LCWS
  Length of time on LCWS Board
  Vocation or background
  Cabin location
  Length of time with cabin
We are looking for a new Board Member!
Notes: 5

## Slide 6: Water Master David Jacob
David has been Water Master of LCWS since Fall 2007. He is an engineer by training.
During his stewardship, we have dramatically improved our system
  Chronic out-of-service conditions eliminated
  Water flows dramatically reduced
  Mainline replacement program re-invigorated
  All system improvements done to proper defined standards
David is also the water master of several other water systems in the Mount Hood area
Notes: 6

## Slide 7: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 7
Any questions about objectives or agenda?

## Slide 8: Annual Member Meeting Minutes August 15, 2022
2022 Annual Member Meeting Minutes 8-15-22 Board Approved Draft.docx

## Slide 9: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 9
Any questions about objectives or agenda?

## Slide 10: Mission Statement
The mission of Lady Creek Water System is to provide clean, safe water service to the member cabins on a consistent and reliable basis at a reasonable cost.
Notes: 10

## Slide 11: President’s Report 2022 LCWS Accomplishments
Further reduced water consumption (controlled leaks) to a new record low of 7.8 million gallons in 2022
  2023 Run rate at 6.4 million gallons thru June
Completed the Zig Zag River mainline crossing replacement at Road 20E and Road 24 $120K below budget
Assisted USFS with removal of two old dams on Lady Creek
Revised application for fourth well (in 2023)
Reduced recurring administrative expenses by $4,200
Notes: 11

## Slide 12: Key Operating Statistics Clean, Safe, and Reliable Water
2022 2021
Total gallons (000’s) 7,819 8,154
Minimum water flow (gpm) 5 5
Unplanned days w/o water 0 0
Test failures 0 0
Notes: 12
18 gpm is 9.5 million gallons per year

## Slide 13
Chart: Lady Creek Water System Annual Water Use
Chart: Lady Creek Water System Annual Water Use
Chart: Lady Creek Water System Annual Water Use
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
 | 22.228 | 12.4427 | 9.5674 | 9.549 | 10.16 | 9.163 | 13.161 | 9.185 | 9.625 | 8.265 | 9.206 | 8.277 | 9.523 | 8.154 | 7.819
Notes: Finding and eliminating leaks is very important; a 4 gpm leak wastes 2.1 million gallons per year! Wastes electricity, chlorine, wear and tear on pumps, system less reliable for handling peak actual demand, and it accelerates the deterioration of our wells

## Slide 14: Operating Objectives
Reasonable costs
Chart: 
| 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
Annual Dues | 250 | 200 | 195 | 185 | 175 | 165 | 160 | 160 | 150 | 150 | 150 | 150 | 150 | 150 | 175
Capital Assessment | 140 | 150 | 150 | 150 | 145 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140
Notes: 14
HOWEVER, we did have to increase dues in response to USFS fee increase.

## Slide 15: Questions?
Any Questions?

## Slide 16: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 16
Any questions about objectives or agenda?

## Slide 17: Water Master Report David Jacob
Chart: Lady creek min flow each hour Dec 2022

## Slide 18: Water Master Report David Jacob
Chart: January 23 Minimum Flow by Hour

## Slide 19: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 19
Any questions about objectives or agenda?

## Slide 20: Financial Report
..\Financial\2022 December 31 Balance Sheet FINAL 7-12-23.pdf
..\Financial\2022 December 31 Income Statement w Budget Comparison FINAL 7-12-23.pdf
..\Financial\2023 Proposed Budget 7-12-23.pdf
Notes: 20

## Slide 21: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 21
Any questions about objectives or agenda?

## Slide 22: Capital Plan 2023-2025
..\Capital Projects and Contracts\Capital Plan 2023-2025.xlsx
Notes: 22

## Slide 23: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 23
Any questions about objectives or agenda?

## Slide 24: Adding a Fourth Well
In the early 1980’s Lady Creek Water System was forced to move to well water instead of taking water from Lady Creek due to the presence of giardia.
In 1981 our first well was drilled paired with a 75,000-gallon water tank, by 1985 we had three wells.
Wells don’t produce forever. We are working towards drilling another well in the next couple of years to meet future needs.
The Forest Service actually has the water right we are using so we are working with them to obtain an updated Transfer Application from the Oregon Department of Water Resources.
  We originally filed our request in December 2021, after waiting over a year we have decided to ask for expedited treatment of our request.
  We have sufficient funds to complete this project and will also use this opportunity to update the electric service to the headworks
Notes: 24
Any questions about objectives or agenda?

## Slide 25: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 25
Any questions about objectives or agenda?

## Slide 26: Election of Directors
The Board of Directors consists of up to 9 volunteer members, each serving a three-year term on a staggered basis. Every year 3 terms expire.
We have up to 4 positions to elect;
  3 Directors are standing for re-election,
  1 Director position is vacant (term 2021-2024).
Members elect the Directors at the Annual meeting to serve the terms as specified.
Notes: 26

## Slide 27: Nominations for Board of Directors
3 Nominees to continue on the Board:
  Adam Abplanalp is nominated for a 3-year term
  Mark Allred is nominated for a 3-year term
  Holly Robinson is nominated for a 3-year term
Nominees to fill vacant position
  Vacancy 1 to serve until 2024
Notes: 27

## Slide 28: Nominations for Board of Directors
No nominations were received prior to this meeting.
Nominations are open now from the floor. Are there any additional nominations?
Notes: 28

## Slide 29: Election of Directors
Introduction of new nominees:
  Name
  Cabin location and years ownership
  Background/vocation
  Prior service on LCWS or other Boards?
  Reason(s) for wanting to serve on Board
Election of new Directors
Notes: 29

## Slide 30: Agenda
Welcome and Introductions
Approval of 2022 Annual Meeting Minutes
President’s Report
Water Master’s Report
Financial Report
Capital Improvement Plan Update
Fourth well project Update
Election of Directors to the Board
Question and Answer Session
Notes: 30
Any questions about objectives or agenda?

## Slide 31: Questions or Comments?
Notes: End of presentation.
Move to approve 2020 and 2021 CI Plan.
Vote