## Slide 1: Lady Creek Water System
Annual Members’ Virtual Meeting
August 15, 2022
Welcome!
Notes: 1

## Slide 2: Objectives of Annual Meeting
Inform and educate the membership about the water system including recent activities & developments
Present plans for current & future years
Answer your questions
  Feel free to ask as we go, or at end of meeting
  If you wish to make a statement or ask a question, please give your name and cabin location (Road and Lot Numbers)
  Some answers may be deferred to later in the program
Conduct corporate business
Notes: 2

## Slide 3: Logistics of this Virtual Meeting
To avoid background noise, please place your microphone on mute until you need to speak.
Thank you to Board Member and Treasurer Adam Abplanalp for setting up this Zoom meeting
Adam will explain how to ask a question and how to vote
Notes: 3

## Slide 4: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 4
Any questions about objectives or agenda?

## Slide 5: Introductions
Board consists of volunteers from the membership; all are cabin owners
Each Board member will introduce themselves
  Name and current position with LCWS
  Length of time on LCWS Board
  Vocation or background
  Cabin location
  Length of time with cabin
We are looking for new Board Members!
Notes: 5

## Slide 6: Water Master David Jacob
David has been Water Master of LCWS since Fall 2007. He is an engineer by training.
During his stewardship, we have dramatically improved our system
  Chronic out-of-service conditions eliminated
  Water flows dramatically reduced
  Mainline replacement program re-invigorated
  All system improvements done to proper defined standards
David is also the water master of several other water systems in the Mount Hood area
Notes: 6

## Slide 7: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 7
Any questions about objectives or agenda?

## Slide 8: Annual Member Meeting Minutes July 19, 2021
2021 Annual Member Meeting Minutes 7-19-21 Final Draft.docx

## Slide 9: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 9
Any questions about objectives or agenda?

## Slide 10: President’s Report – 2021 Accomplishments
Reduce water consumption (controlled leaks) to a new record low of 8.2 million gallons in 2021
  Run rate at 7.2 million gallons thru July of 2022
Completed mainline replacement project Camp Creek (3,500 feet from Road 32 to Road 30 via Highway 26)
  $8K under budget
Planned with US Forest Service for Zig Zag River crossing mainline replacement and removal of two old damns on Lady Creek
Began planning process for fourth well
Notes: 10

## Slide 11: President’s Report – 2021 Accomplishments Continued
Maintained sound financial performance during 2021
Migrated to new bookkeeper with substantial cost savings
Completed audit of 2021 financial transactions with no material adverse findings
Continued migration to increased electronic communication and dues payment system
Notes: 11
4th year in a row at $150; peaked at $250 in 2009

## Slide 12: Mission Statement
The mission of Lady Creek Water System is to provide clean, safe water service to the member cabins on a consistent and reliable basis at a reasonable cost.
Notes: 12

## Slide 13: Key Operating Statistics Clean, Safe, and Reliable Water
2021 2020
Total gallons (000’s) 8,154 9,523
Minimum water flow (gpm) 5 7
Unplanned days w/o water 0 5
Test failures 0 0
Notes: 13
18 gpm is 9.5 million gallons per year

## Slide 14
Chart: Lady Creek Water System Annual Water Use
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
 | 22.228 | 12.4427 | 9.5674 | 9.549 | 10.16 | 9.2 | 13.2 | 9.2 | 9.625 | 8.265 | 9.2 | 8.3 | 9.5 | 8.2
Notes: Finding and eliminating leaks is very important; a 4 gpm leak wastes 2.1 million gallons per year! Wastes electricity, chlorine, wear and tear on pumps, system less reliable for handling peak actual demand, and it accelerates the deterioration of our wells

## Slide 15: Operating Objectives
Reasonable costs
Chart: Member Dues Reduced 40% since 2009 Capital Assessment $140 since 2013
| 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Member Dues | 250 | 200 | 195 | 185 | 175 | 165 | 160 | 160 | 150 | 150 | 150 | 150 | 150 | 150
Notes: 15
HOWEVER, we now need to increase dues in response to USFS fee increase.

## Slide 16: Questions?

## Slide 17: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 17
Any questions about objectives or agenda?

## Slide 18: Water Master Report David Jacob
2022 Water Master AMM Report; Zig Zag River Crossing Mainline Replacment.pptx

## Slide 19: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 19
Any questions about objectives or agenda?

## Slide 20: Removing historical dams on Lady Creek in 2022
Concrete Dam Lady Creek September 2021.jpg
Wood Dam Lady Creek September 2021.jpg
Concrete Dam Area on Lady Creek After Removal.jpg
Wood Dam Area on Lady Creek After Removal.jpg
Notes: 20
Operating Surplus of $20K
4th year in a row at $150; peaked at $250 in 2009

## Slide 21: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 21
Any questions about objectives or agenda?

## Slide 22: Financial Report
LCWS 2022 AMM Financial Report Packet.pdf
Motion to increase Annual Member Dues by $25 per member per year in 2023, and up to $15 per member per year in 2024
Motion to authorize Board of Directors to establish a paper transaction fee of no more than 10% of the Annual Dues Amount for those members who choose not to accept email communication or online bill paying methods established by LCWS
Notes: 22

## Slide 23: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 23
Any questions about objectives or agenda?

## Slide 24: Capital Plan 2022-2025
..\Capital Projects and Contracts\Capital Plan 2022-2025.xlsx
Notes: 24

## Slide 25: Revisions to 2021-2025 capital plan
In the 2021 Annual Member Meeting, the membership approved an increase in the capital assessment of $10 per member per year ($150) for 2022 thru 2025
  In light of the increase in USFS fees, the Board elected not to implement this increase in capital assessments
  Instead, we asked for an increase in the annual dues rate and kept the capital assessment flat
Notes: End of presentation.
Move to approve 2020 and 2021 CI Plan.
Vote

## Slide 26: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 26
Any questions about objectives or agenda?

## Slide 27: Proposed Changes to Bylaws
There are many routine housekeeping and clarification changes including recognition of the new billing system. There are two major changes included in the proposed changes
Notes: 27
Any questions about objectives or agenda?

## Slide 28: Proposed Changes to Bylaws
Addition of a Member Representative. This new section allows a cabin permit holder to appoint someone to represent their interests to the system. It also allows member representatives to serve on the board. These representatives must be appointed by cabin permit holders in writing on a form we will post on our web site. This keeps us from having to evaluate potential conflicting claims of relatives or friends of cabin owners. Member Representatives may run for the board but not exceed more than a third of total board membership. This is to keep the focus on actual cabin owners. Sale or Merger of System. This new section requires a majority vote of all members for any proposal of sale or merger to be approved. This requirement is to protect the assets of the system from the actions of just a few board members.
Notes: 28
Any questions about objectives or agenda?

## Slide 29: Proposed Changes to Bylaws
Motion to approve changes to Bylaws as presented
..\Bylaws and Policies\Proposed Revised LCWS bylaws 8-15-22.doc
Notes: 29
Any questions about objectives or agenda?

## Slide 30: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 30
Any questions about objectives or agenda?

## Slide 31: Election of Directors
The Board of Directors consists of up to 9 volunteer members, each serving a three-year term on a staggered basis. Every year 3 terms expire.
We have up to 4 positions to elect;
  1 Director is standing for re-election,
  1 Director is resigning (term 2021-2024), and
  We have 2 prior vacancies (terms 2022-2025).
Members elect the Directors at the Annual meeting to serve the terms as specified.
The Board wishes to thank Tom Feely for his service on the Board from 2020-2022
Notes: 31

## Slide 32: Nominations for Board of Directors
1 Nominee to continue on the Board:
  Doug Hartley is nominated for a 3-year term
Nominees to fill vacant position(s)
  Vacancy 1 to serve 2022-2025
  Vacancy 2 to serve 2022-2025
  Vacancy 3 to serve thru 2024
Notes: 32

## Slide 33: Nominations for Board of Directors
We have 1 nominee submitted in advance for the 4 open Board positions. Nominations can also be made at this time. Are there any additional nominations?
Notes: 33

## Slide 34: Election of Directors
Introduction of new nominees:
  Name
  Cabin location and years ownership
  Background/vocation
  Prior service on LCWS or other Boards?
  Reason(s) for wanting to serve on Board
Election of new Directors
Notes: 34

## Slide 35: Agenda
Welcome and Introductions
Approval of 2021 Annual Meeting Minutes
President’s Report
Water Master’s Report
Removing historical dams on Lady Creek
Financial Report
  Proposed increase in annual dues for 2023
  Proposed paper communications fee
Capital Improvement Plan Update
Proposed changes to Bylaws
Election of Directors to the Board
Question and Answer Session
Notes: 35
Any questions about objectives or agenda?

## Slide 36: Questions or Comments?
Notes: End of presentation.
Move to approve 2020 and 2021 CI Plan.
Vote